## Sheet1
Org Code | Facility Name (from CTS Cov. Fac. Spreadsheet) | Covered Facility ID | Site Name - ION E | Meter Name | Name under "Other" (Sub Meter) | Utility Monitored | Value - 10/01/2014 | Value on 10/01/2015 | Usage Difference | Unit of Measure | For Energy Utilities, Usage in Million BTUs | Meter Primary Contact | Notes
N/A – NO ADV. METER | 012809: ARCATA LABORATORY/OFFICE | 1060.008541
N/A – NO ADV. METER | 024100: FRESNO LABORATORY/OFFICE BLD. | 1035.008541
| 06 PROSPECT RANGER STATION | 1361.005121
272100 | 092811: RIVERSIDE FACILITY | 1005.0085 | R27 Riverside | R27F21D00.MainMeter |  | Electricity | 848614.69 | 1286150.75 | 437536.06 | kWh |  | Hanna, Warren -FS
272100 | 222021: HILO OFFICE/LABORATORY | 188010615 | R27 IPIF Hilo | R27F21D00_IPIFResearch.BuildingMainMeter |  | Electricity | 75511.37 | 638047.38 | 562536.01 | kWh |  | Oshiro, Dean Y -FS
N/A – NO ADV. METER | ADMINISTRATIVE BUILDING | 8010663
080600 | AFC ADMINISTRATION. BUILDING | 1155.0062 | R8 APM | R08F60D00.AFComplex |  | Electricity | 3528021.25 | 4837103 |  | kWh |  | Klar, Satgur -FS
050100 | Angeles NF Arcadia SO – New | 636438010602 | R5 Arcadia Supervisors Office | R05F01D00ArcadiaSOCompound.BuildingMainMeter |  |  | 0 | 0 |  | kWh |  | Lopez, Ricardo -FS
050100 | Angeles NF Arcadia SO – New | 636438010602 | R5 Arcadia Supervisors Office | R05F01D00ArcadiaSOCompound.FacilitiesShop | R5ArcadiaFacShp | Electricity | None | 3241.36 | 3241.36 | kWh |  | Lopez, Ricardo -FS
050100 | Angeles NF Arcadia SO – New | 636438010602 | R5 Arcadia Supervisors Office | R05F01D00ArcadiaSOCompound.WarehousesCD | R5ArcadiaWrhses | Electricity | None | 1664.94 | 1664.94 | kWh |  | Lopez, Ricardo -FS
050100 | Angeles NF Arcadia SO – New | 636438010602 | R5 Arcadia Supervisors Office | R05F01D00ArcadiaSOCompound.RadioShop | R5ArcadiaRadShp | Electricity | None | 950.81 | 950.81 | kWh |  | Lopez, Ricardo -FS
050100 | Angeles NF Arcadia SO – New | 636438010602 | R5 Arcadia Supervisors Office | R05F01D00ArcadiaSOCompound.EngineGarage | R5ArcadiaEngGrg | Electricity | None | 9884.25 | 9884.25 | kWh |  | Lopez, Ricardo -FS
050100 | Angeles NF Arcadia SO – New | 636438010602 | R5 Arcadia Supervisors Office | R05F01D00ArcadiaSOCompound.ExteriorLights | R5ArcadiaExLgts | Electricity | None | 3713.73 | 3713.73 | kWh |  | Lopez, Ricardo -FS
100533 | ANM/JRD COLLOCATED OFFICE | 5498010323 | R10 Alaska | R10F05D33ANMJRD.AdminOffice |  | Electricity | 517193.41 | 681334.31 | 164140.9 | kWh |  | Patterson, Jerry J -FS
N/A – NO ADV. METER | ATHENS RANGER STATION AND SUPERVISORS OFFICE - Wayne | 1025.01
100410 | BBVC BEGICH BOGGS VISITOR CTR | 1008.008121 | R10 Alaska | R10F04D10BBVC.VisitorCenter |  | Electricity | 275632.09 | 406849.91 | 131217.82 | kWh |  | Patterson, Jerry J-FS
100410 | BBVC BEGICH BOGGS VISITOR CTR | 1008.008121 | R10 Alaska | R10F04D10BBVC.VisitorCenter | R10BBVCWtr | Water | 0 | 55560 | 55560 | Water Gal |  | Patterson, Jerry J-FS
100410 | BBVC BEGICH BOGGS VISITOR CTR | 1008.008121 | R10 Alaska | R10F04D10BBVC.VisitorCenter | R10BBVCFOil | Fuel Oil | 0 |  | 0 |  |  | Patterson, Jerry J-FS
100410 | BBVC BEGICH BOGGS VISITOR CTR | 1008.008121 | R10 Alaska | R10F04D10BBVC.VisitorCenter | R10BBVCNGas | Gas | 0 | 103023 | 103023 | Gas - Cubic Feet |  | Patterson, Jerry J-FS
010410 | BIG BEAR DISCOVERY CENTER | 13405.004171
N/A – NO ADV. METER | BLACK MESA RANGER STATION | 1213.0019
N/A – NO ADV. METER | BRADFORD RANGER OFFICE | 1321.007791
N/A – NO ADV. METER | CAMP CLOVER OFFICE | 1055.002381
N/A – NO ADV. METER | CATALINA SERVICE CENTER | 1156.010071
N/A – NO ADV. METER | CFA VISITOR'S CENTER | 1049.006661
090300 | CHIPPEWA SUPERVISORS OFFICE | 1001.007131 | R9 Cass Lake SO | R09F03D00CasLkSO.CampusMainMeter |  | Electricity | 350882.19 | 584921.63 | 234039.44 | kWh |  | Smrekar, Jay J -FS
090300 | CHIPPEWA SUPERVISORS OFFICE | 1001.007131 | R9 Cass Lake SO | R09F03D00CasLkSO.3PHHVACPlus | CasLakeSOHVAC | Electricity | 119661 | 232716 | 113055 | kWh |  | Smrekar, Jay J -FS
090300 | CHIPPEWA SUPERVISORS OFFICE | 1001.007131 | R9 Cass Lake SO | R09F03D00CasLkSO. | CasLakeSOSAnxSv | Electricity | 25376 | 25458 | 82 | kWh |  | Smrekar, Jay J -FS
090300 | CHIPPEWA SUPERVISORS OFFICE | 1001.007131 | R9 Cass Lake SO | R09F03D00CasLkSO. | CasLakeSONAnxSv | Electricity | 27774 | 75515 | 47741 | kWh |  | Smrekar, Jay J -FS
090300 | CHIPPEWA SUPERVISORS OFFICE | 1001.007131 | R9 Cass Lake SO | R09F03D00CasLkSO.1PHLghtsRcpts | CasLakeSO1PhLgt | Electricity | 60927 | 112657 | 51730 | kWh |  | Smrekar, Jay J -FS
090300 | CHIPPEWA SUPERVISORS OFFICE | 1001.007131 | R9 Cass Lake SO | R09F03D00CasLkSO.NSWarehouses | CasLakeSONSWhs | Electricity | 43078 | 49162 | 6084 | kWh |  | Smrekar, Jay J -FS
261900 | CORVALLIS LAB & OFFICE | 1160.004574 | R26 PNW Research Station CFSL | R26F19D01CFSL.BldgMainEastWing |  | Electricity | 146779.75 | 252700.08 | 105920.33 | kWh |  | Avila, Robert -FS
261900 | CORVALLIS LAB & OFFICE | 1160.004574 | R26 PNW Research Station CFSL | R26F19D01CFSL.PnlALtg | CFSLPnlALtg | Electricity | 113828 | 151745 | 37917 | kWh |  | Avila, Robert -FS
261900 | CORVALLIS LAB & OFFICE | 1160.004574 | R26 PNW Research Station CFSL | R26F19D01CFSL.PnlBRec | CFSLPnlBRec | Electricity | 22908 | 45791 | 22883 | kWh |  | Avila, Robert -FS
261900 | CORVALLIS LAB & OFFICE | 1160.004574 | R26 PNW Research Station CFSL | R26F19D01CFSL.PnlCWSRec | CFSLPnlCWSRec | Electricity | 15035 | 23447 | 8412 | kWh |  | Avila, Robert -FS
261900 | CORVALLIS LAB & OFFICE | 1160.004574 | R26 PNW Research Station CFSL | R26F19D01CFSL.PnlDtgRec | CFSLDtgRec | Electricity | 17517 | 24331 | 6814 | kWh |  | Avila, Robert -FS
261900 | CORVALLIS LAB & OFFICE | 1160.004574 | R26 PNW Research Station CFSL | R26F19D01CFSL.PnlMMech | CFSLPnlMMech | Electricity | 152562 | 194791 | 42229 | kWh |  | Avila, Robert -FS
N/A – NO ADV. METER | DE DETROIT OFFICE | 1355010565
242317 | DELAWARE, OH, MAIN OFFICE/LAB | 1820.008341 | R24 NRS Delaware | R24F23D17NRSWestWing.BuildingMainMeter |  | Electricity | 0 | 0 |  | kWh |  | Hicks, Arthur M -FS
N/A – NO ADV. METER | DEVI PLAZA | 513699010602
021305 | DOLORES OFFICE - NEW | 52890010590 | R2 Dolores CO | R02F13D05DoloresRD.OfficePnlA |  | Electricity | 18405.54 | 143743.8 | 125338.26 | kWh |  | Blanchard, Mary J -FS
N/A – NO ADV. METER | DURHAM, NH, MAIN OFFICE/LAB | 1769.008341
N/A – NO ADV. METER | ELDORADO SO | 2549010295
N/A – NO ADV. METER | ELY RANGER STATION-OFFICE, Superior | 4961010436
N/A – NO ADV. METER | FERNAN RANGER STATION OFFI | 1255.000331
N/A – NO ADV. METER | FIRE CTR LGE MAIN BLDG | 1218.002481
N/A – NO ADV. METER | FLAGSTAFF FORESTRY SCIENCES COMPLEX | 2010.008601
N/A – NO ADV. METER | FLAGSTAFF GREENHOUSE MAINTENANCE COMPLEX | 2061.0086
330100 | FOREST HYDROLOGY LAB | 1071.008761 | R33 - Oxford | R33F01D00_OxfordFHL.SiteMainMeter |  | Electricity | 8838.88 | 16259.7 | 7420.82 | kWh
011600 | FORT MISSOULA BLDG 24 | 31958010354 | R1 Lolo | R01F16D2018.MainBuildingMeter |  | Electricity | 729414.94 | 1001904.44 | 272489.5 | kWh |  | Kelley, William G -FS
011600 | FORT MISSOULA BLDG 24 | 31958010354 | R1 Lolo | R01F16D2018.hvac | LoloSOHVAC | Electricity | 71658 | 90010 | 18352 | kWh |  | Kelley, William G -FS
330100 | FSL | 1155.008761 | R33 SRS - Research Triangle Park | R33F01D00_RTP_FSL.SiteMainMeter |  |  | 504282.47 | 678259.38 | 173976.91 | kWh |  |  | 277/480 V 3 phase, 4w, Wye 1600:5A
330100 | FSL | 1021.008761 | R33 Auburn | R33F01D00.AuburnFSLMain |  |  | 957774.75 | 1616471.13 | 658696.38 | kWh
330100 | FSL STATION HQ | 1143.008761 | R33 SRS - Asheville | R33F01D00_SRSHQ.BuildingMainMeter |  | Electricity | 1405443.5 | 2104891.25 | 699447.75 | kWh |  | Anderson, Jason L -FS
330100 | FSL STATION HQ | 1143.008761 | R33 SRS - Asheville | R33F01D00_SRSHQ.MCC1_Shop | R33Ash_MCC1Shop | Electricity | 0 | 67126.59 | 67126.59 | kWh |  | Anderson, Jason L -FS
330100 | FSL STATION HQ | 1143.008761 | R33 SRS - Asheville | R33F01D00_SRSHQ.MCC2_AHUs | R33AshMCC2AHUs | Electricity | 0 | 147232.13 | 147232.13 | kWh |  | Anderson, Jason L -FS
N/A – NO ADV. METER | GRAND RAPIDS OFFICE LABORATORY | 1084.008291
N/A – NO ADV. METER | GREY TOWERS MANSION, PA | 1866.0083
021500 | GWS SUPVR OFFICE | 2034.0018 | R2 White River | R02F15D00WRNFSO.BuildingMainMeter |  | Electricity | 0 | 17.27 | 17.27 | kWh |  | Ross, Mike K -FS
021500 | GWS SUPVR OFFICE | 2034.001831 | R2 White River | R02F15D00WRNFSO.CarCharge | R2WhtRvrCarChrg | Electricity | 0 | 0 | 0 | kWh |  | Ross, Mike K -FS
021500 | GWS SUPVR OFFICE | 2034.001831 | R2 White River | R02F15D00WRNFSO.SOHVAC | R2WhtRvrSOHVAC | Electricity | 0 | 90 | 90 | kWh |  | Ross, Mike K -FS
021500 | GWS SUPVR OFFICE | 2034.001831 | R2 White River | R02F15D00WRNFSO.SolarPanels | R2WhtRvrSolar | Electricity | 0 | 0 | 0 | kWh |  | Ross, Mike K -FS
242325 | HAMDEN, CT, OFFICE/LAB | 2745.008341 | R24 Hamden CT | R24F23D25NRS.HamdenLabMain |  | Electricity | 0 | 0 | 0 | kWh
100521 | HARRIS BUILDING | 7339010323 | R10 Alaska | R10F05D21PSO.AdminOffice |  | Electricity | 371841.16 | 473861.66 | 102020.5 | kWh |  | Patterson, Jerry J -FS
N/A – NO ADV. METER | Headquarters - RMRS Ft. Collins | 1991.008601
N/A – NO ADV. METER | IDAHO PANHANDLE SO OFFICE | 5712.000171
N/A – NO ADV. METER | IITF HEADQUARTERS | 3668054320
N/A – NO ADV. METER | INYO SO/BLM | 2908010295
N/A – NO ADV. METER | J Herbert Stone Nursery Complex | 1551.005121
060301 | JOHNSTON RIDGE OBSERVATORY | 2731.004731 | R6 Gifford Pinchot NF | R06F03D01JohnstonRidgeVC.BuildingMainMeter |  | Electricity | 371841.16 | 473861.66 | 102020.5 | kWh |  | Sadler, Roger -FS
N/A – NO ADV. METER | Klamath - SO | 25700102950
100552 | KMRD Shop & Storage | 377320010602 | R10 Alaska | R10F05D20KMRDwrh.AdminOffice |  | Electricity | 488372.25 | 636601.63 | 148229.38 | kWh |  | Patterson, Jerry J -FS
N/A – NO ADV. METER | L&C INTERPRETIVE CENTER | 2995.000851
N/A – NO ADV. METER | LASSEN SO | 2595010295
111100 | MAIN BUILDING - FPL | 1000.008801 | R11 Forest Products Lab | R11F11D00.FPLMainMeter |  | Electricity | 773825.25 | 1513026.25 | 739201 | kWh |  | Juntunen, David D -FS
111100 | MAIN BUILDING - FPL | 1000.008801 | R11 Forest Products Lab | R11F11D00.BuildingOne | FPLBldgOne | Electricity | None | NONE |  | kWh |  | Juntunen, David D -FS
N/A – NO ADV. METER | MAIN BUILDING - RMRS Moscow Lab | 3693.008271
N/A – NO ADV. METER | MARIENVILLE RANGER OFFICE | 402010308
N/A – NO ADV. METER | MBSA VISITOR CENTER | 1073.003721
100533 | MENDENHALL GLACIER VISITOR CENTR | 1437.0081 | R10 Alaska | R10F05D33MGVC.VisitorCenter |  | Electricity | 633724.88 | 833984.13 | 200259.25 | kWh |  | Patterson, Jerry J -FS
N/A – NO ADV. METER | MENDOCINO SO | 2613010295
N/A – NO ADV. METER | MF MIDDLE FORK OFFICE | 2562.005571
N/A – NO ADV. METER | MIFC CACHE BLDG, Superior | 3762.007601
015200 | MISSOULA FIRE SCIENCES LABORATORY | 5267.000171 | R1 FireCache | R01F52D2200.dormitory | R1FireChDmtry | Electricity | 167448 | 232739 | 65291 | kWh |  | Kegel, Corrine L -FS
015200 | MISSOULA FIRE SCIENCES LABORATORY | 5268.000171 | R1 FireCache | R01F52D2200.MainBuildingMeter |  | Electricity | 403667.78 | 557959.13 | 154291.35 | kWh |  | Castillo, Frank -FS
015200 | MISSOULA FIRE SCIENCES LABORATORY | 5281.000171 | R1 FireCache | R01F52D2200.Loft | R1FireChLOFT | Electricity | 504405 | 705186 | 200781 | kWh |  | Castillo, Frank -FS
015200 | MISSOULA FIRE SCIENCES LABORATORY | 5284.000171 | R1 FireCache | R01F52D2200.visitorcentermain | R1FireChVisMn | Electricity | 21687 | 34181 | 12494 | kWh |  | Castillo, Frank -FS
015200 | MISSOULA FIRE SCIENCES LABORATORY | 5284.000171 | R1 FireCache | R01F52D2200.visitorcenterpvinverter | R1FireChVisPV | Electricity | 13681 | 19548 | 5867 | kWh |  | Castillo, Frank -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDC - Missoula | R1382D00.MainMeter |  | Natural Gas CuFt | 883380 | 857862.5 | -25517.5 | Gas- Cubic Feet |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDC - Missoula | R1382D00.MainMeter |  | Water | 0 | 848235 | 848235 | Water |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDC - Missoula | R1382D00.MainMeter |  | Electricity | 1226026.13 | 1498475 | 272448.87 | kWh |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDC - Missoula | R1382D00.airhandler | MTDCAirHndlr | Electricity | 211480 | 256940 | 45460 | kWh |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDC - Missoula | R1382D00.pvarray | MTDCPVArray | Electricity | 295492 | 347132 | 51640 | kWh |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDC - Missoula | R1382D00.wellpump | MTDCWellPmp | Water | 41587 | 45363 | 3776 | Water - Gal |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDCShop - Missoula | R1382D00.mainmetershop |  | Natural Gas CuFt | 3247575 | 4187850 | 940275 | Gas - Cubic Feet |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDCShop - Missoula | R1382D00.mainmetershop |  | Natural Gas CuFt | 2472310 | 3122870 | 650560 | Gas- Cubic Feet |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDCShop - Missoula | R1382D00.mainmetershop |  | Electricity | 599093.19 | 760333.75 | 161240.56 | kWh |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDCShop - Missoula | R1382D00.mainmetershop |  | Water | 265442 | 325228 | 59786 | Water - Gal |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDCShop - Missoula | R1382D00.mainmetershop |  | Water | 61158 | 79818 | 18660 | Water - Gal |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDCShop - Missoula | R1382D00.hb_panel | MTDCShopHbPnl | Electricity | 17991 | 24982 | 6991 | kWh |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDCShop - Missoula | R1382D00.lf_panel | MTDCShopLfPnl | Electricity | 40437 | 54437 | 14000 | kWh |  | Kees, Gary J -FS
138200 | MTDC OFFICE | 5289.000171 | R13 MTDCShop - Missoula | R1382D00.M52Lights | MTDCShopM52Lgts | Electricity | 0 | 7562.18 | 7562.18 | kWh |  | Kees, Gary J -FS
N/A – NO ADV. METER | MORGANTOWN, WV, MAIN OFFICE/LAB | 1765.008341
N/A – NO ADV. METER | MT HOUGH OFFICE | 1198.004101
N/A – NO ADV. METER | NCSC ADMINISTRATION BLDG. | 1074.004291
N/A – NO ADV. METER | NCSC OPERATIONS BUILDING (Shasta-Trinity NF) | 1063.004291
330100 | NORTH BUILDING | 1215.0088 | R33 Athens | R33F01D00.AthensFSLMainMeter |  | Electricity | 1436401.25 | 2121990.5 | 685589.25 | kWh |  |  | Main Building Meter at Forestry Sciences Lab located in North Building Electrical Room
N/A – NO ADV. METER | NORTHERN GREAT LAKES VISITOR CENTER, Cheq-Nic | 1754.007401
N/A – NO ADV. METER | OFFICE, MYSTIC RD | 55358010421
N/A – NO ADV. METER | OFFICE, NEW SUPERVISOR'S HQ | 3216.001101
N/A – NO ADV. METER | OFFICE-ELRS- DISTRICT OFFICE | 1191.003831
N/A – NO ADV. METER | OFFICE-PKG-TCS-COMPLEX | 1064.000331
N/A – NO ADV. METER | OLYMPIA LAB & OFFICE | 1036.004574
N/A – NO ADV. METER | PARK FALLS ADMIN BLDG, Cheq-Nic | 1386.007401
N/A – NO ADV. METER | PILOT PLANT - FPL | 1014.008801
N/A – NO ADV. METER | Plumas NF SUPERVISOR'S OFFICE | 1002.004101
N/A – NO ADV. METER | PSICC SO | 3628010291
050000 | REGIONAL OFFICE - R5 | 2706010295 | R5 Vallejo | R05F00D00.ROMainMeter |  | Electricity | 2610164 | 4082204 | 1472040 | kWh |  | Sheahan, Jeffery -FS
N/A – NO ADV. METER | RHINELANDER OFFICE/LAB | 1087.008291
031206 | ROOSEVELT VISITOR CENTER & OFFICE | 1078.002601 | R3 Roosevelt | R03F12D06_RooseveltVC.BuildingMainMeter |  | Electricity | 13703.51 | 127129.06 | 113425.55 | kWh |  | Murphy, LeAnne -FS
031206 | ROOSEVELT VISITOR CENTER & OFFICE | 1078.002601 | R3 Roosevelt | R03F12D06_RooseveltVC.LtgRecHVACPnlA | R3RsvltLtgPnlA | Electricity | 1389 | 1389 | 0 | kWh |  | Murphy, LeAnne -FS
031206 | ROOSEVELT VISITOR CENTER & OFFICE | 1078.002601 | R3 Roosevelt | R03F12D06_RooseveltVC.LtgRecHVACPnlB | R3RsvltLtgPnlB | Electricity | 0 | 190 | 190 | kWh |  | Murphy, LeAnne -FS
031206 | ROOSEVELT VISITOR CENTER & OFFICE | 1078.002601 | R3 Roosevelt | R03F12D06_RooseveltVC.PCTelLtgRm13 | R3RsvltPCTelRm | Electricity | 0 | 192 | 192 | kWh |  | Murphy, LeAnne -FS
N/A – NO ADV. METER | S.O. OFFICE Mark Twain | 1081.007271
N/A – NO ADV. METER | San Bernardino NF SO | 524866010602
N/A – NO ADV. METER | SANTA FE SUPERVISOR'S OFFICE | 580165010602
138100 | SDTDC ADMINISTRATION BUILDING | 25010317 | R13 San Dimas | R13F81D00.MainMeter |  | Electricity | 319354.59 | 513469.5 | 194114.91 | kWh
138100 | SDTDC ADMINISTRATION BUILDING | 25010317 | R13 San Dimas | R13F81D00.AdminBldg | SanDimasAdmBldg | Electricity | 237988 | 345196 | 107208 | kWh
100552 | SE DISCOVERY CENTER | 1353.008161 | R10 Alaska | R10F05D20SEADC.VisitorCenter |  | Electricity | 555349 | 717977.19 | 162628.19 | kWh |  | Patterson, Jerry J -FS
N/A – NO ADV. METER | SEQUOIA SO - NEW | 3870054320
N/A – NO ADV. METER | SOUTH BUILDING | 1185.008761
330100 | SOUTHERN HARDWOODS LAB | 1080.008761 | R33 Southern Research Station - Hardwoods Lab | R33F01D00.SHL_FSL_MainMeter |  | Electricity | 680147.69 | 1087270.38 | 407122.69 | kWh |  | Anderson, Jason L -FS
041700 | SPARKS OFFICE | 1075.0033 | R4 Humboldt Toiyabe NF | R04F17D00SparksSO.BuildingMainMeter |  | Electricity | 11338.43 | 151238.64 | 139900.21 | kWh |  | Brewer, Sierra A -FS
242351 | ST PAUL FIELD OFFICE BUILDING | 1121.008291 | R24 NRS St Paul | R24F23D5131201A.MainBuildingMeter |  | Electricity | 1525092.5 | 2193122.75 | 668030.25 | kWh |  | Sindt, Rick -FS
N/A – NO ADV. METER | STANISLAUS NF Supervisors Office | 2688010295
N/A – NO ADV. METER | SUPERVISOR'S OFFICE LTBMU | 1086010315
091500 | SUPERVISOR'S OFFICE Midewin | 690010459 | R9 Midewin SO | R09F15D00MidewinSO.BuildingMainMeter |  | Electricity | 365.28 | 1064.67 | 699.39 | kWh |  | Hommes, Robert A -FS
091500 | SUPERVISOR'S OFFICE Midewin | 690010459 | R9 Midewin SO | R09F15D00MidewinSO.EmergencyLights | MidewinSOEmrLgts | Electricity | 8461 | 26583 | 18122 | kWh |  | Hommes, Robert A -FS
091500 | SUPERVISOR'S OFFICE Midewin | 690010459 | R9 Midewin SO | R09F15D00MidewinSO.Receptacles1 | MidewinSORecep1 | Electricity | 4757 | 14131 | 9374 | kWh |  | Hommes, Robert A -FS
091500 | SUPERVISOR'S OFFICE Midewin | 690010459 | R9 Midewin SO | R09F15D00MidewinSO.Lighting1 | MidewinSOLight1 | Electricity | 20795 | 67295 | 46500 | kWh |  | Hommes, Robert A -FS
091500 | SUPERVISOR'S OFFICE Midewin | 690010459 | R9 Midewin SO | R09F15D00MidewinSO.Receptacles3 | MidewinSORecep3 | Electricity | 3180 | 10999 | 7819 | kWh |  | Hommes, Robert A -FS
091500 | SUPERVISOR'S OFFICE Midewin | 690010459 | R9 Midewin SO | R09F15D00MidewinSO.Receptacles2 | MidewinSORecep2 | Electricity | 6390 | 18526 | 12136 | kWh |  | Hommes, Robert A -FS
N/A – NO ADV. METER | SUPERVISOR'S OFFICE, Cleveland NF | 2855010295
100554 | TNB Warehouse | 1350.008161 | R10 Alaska | R10F05D40TBRD.WarehouseBldg |  | Electricity | 309328.78 | 403167.19 | 93838.41 | kWh |  | Patterson, Jerry J -FS
N/A – NO ADV. METER | USDA SERVICE CENTER | 2524054320
330100 | W.H.S.L. | 1064.008761 | R33 SRS - Nacogdoches | R33F01D00_WHSL.SiteMainMeter |  | Electricity | 106563.3 | 311952.28 | 205388.98 | kWh |  |  | 240/120V, 3 phase, 4w, High Leg Delta 1200:5A
N/A – NO ADV. METER | WOOD CHEMISTRY RESEARCH | 1016.008801
N/A – NO ADV. METER | WOOD FIBER RESEARCH | 1015.008801